## Foglio1
ACQUISTI COMPONENTISTICA DA VUOTO INFN 2014-2015-2016
Sezione/Laboratario INFN | Descrizione articolo | Tipo | Quantità | Prezzo singolo componente | Prezzo totale | eventuali commenti
LNGS | valvola a 90 gradi ISO-KF 40pF A51 003 |  | 2 | 220 | 440
LNGS | valvola ISO-KF 25 PF A51 003 |  | 2 | 220 | 440
LNGS | valvola Butterfly 110VSM040 |  | 2 | 150 | 300
LNGS | tubo flessibile - senza raccordi e treccia DN 25 - AISI |  | 10 | 26.3 | 263
LNGS | tubo flessibile - senza raccordi e treccia DN 10 - AISI |  | 10 | 17.5 | 175
LNGS | tubo AISI316 diametro esterno 12mm spess 1 mm |  | 6 | 13.4 | 80.4
LNGS | tubo AISI316 diametro esterno 3/8mm spess 1 mm |  | 6 | 6.6 | 39.6
LNGS | flangia cieca DN25 - AISI |  | 8 | 6.5 | 52
LNGS | coppia flessibili Elio press. Con terminali Aeroquip da 3/4 F-F lunghezza 3 mt |  | 1 | 980 | 980
LNGS | Aluminium clamp DN 10/16KF |  | 20 | 1.98 | 39.6
LNGS | Aluminium clamp DN 20/25KF |  | 20 | 2.04 | 40.8
LNGS | Aluminium clamp DN 32/40KF |  | 5 | 2.32 | 11.6
LNGS | Centering Ring SS-Viton DN 10 KF |  | 20 | 2.84 | 56.8
LNGS | Centering Ring SS-Viton DN 16 KF |  | 20 | 2.84 | 56.8
LNGS | blank flange SS DN 16 KF |  | 15 | 2.46 | 36.9
LNGS | Centering Ring SS-Viton DN 25 KF |  | 20 | 2.88 | 57.6
LNGS | blank flange SS DN 25 KF |  | 15 | 3.31 | 49.65
LNGS | Centering Ring SS-Viton DN 40 KF |  | 10 | 3.17 | 31.7
LNGS | Adaptive Centering Ring SS-Viton DN 10/16 KF |  | 20 | 3.41 | 68.2
LNGS | overpressure ring DN 16 |  | 10 | 2.2 | 22
LNGS | overpressure ring DN 25 |  | 5 | 2.75 | 13.75
LNGS | rubber hose 12 mm |  | 5 | 12.1 | 60.5
LNGS | conical reducer DN 25/16 KF |  | 5 | 10.88 | 54.4
LNGS | conical reducer DN 40/16 KF |  | 5 | 17.69 | 88.45
LNGS | conical reducer DN 40/25 KF |  | 5 | 17.69 | 88.45
LNGS | 4WAY CROSS DN25 KF |  | 3 | 52.03 | 156.09
LNGS | Tee DN 25 KF |  | 3 | 39.36 | 118.08
LNGS | 4WAY CROSS DN16 KF |  | 3 | 43.23 | 129.69
LNGS | Tee DN 16 KFq |  | 3 | 35.85 | 107.55
LNGS | Elbow 90° Radius on DN 25 KF |  | 3 | 28 | 84
LNGS | Elbow 90° Radius on DN 16 KF |  | 3 | 22.33 | 66.99
LNGS | Centering Ring SS-Viton DN 160 ISO |  | 3 | 22.11 | 66.33
LNGS | blank flange DN 160 ISO-K SS |  | 2 | 53.16 | 106.32
LNGS | Centering Ring SS-Viton DN 100 ISO |  | 2 | 16.18 | 32.36
LNGS | blank flange DN 100 ISO-K SS |  | 2 | 31.69 | 63.38
LNGS | flex metal hose DN 16 KF, L=3000 mm |  | 3 | 129 | 387
LNGS | flex metal hose DN 25 KF, L=3000 mm |  | 3 | 135 | 405
LNGS | linear shift mechanism |  | 2 | 6460 | 12920
LNGS | valvola a spillo manuale |  | 1 | 854.1 | 854.1
LNGS | female run 3/8 SWA 1/4 |  | 5 | 37 | 185
LNGS | male connector 1/4 SWA 1/4 NPT |  | 5 | 7.9 | 39.5
LNGS | flangia cieca INOX CF 150 cog 0604 |  | 2 | 99 | 198
LNGS | guarnizione rame |  | 5 | 8.45 | 42.25
LNGS | Raccordo croce riduzione DN40/DN25KF |  | 1 | 80 | 80
LNGS | Raccordo Tee DN25KF |  | 4 | 49 | 196
LNGS | Tubo flessibile DN40KF L=2000 |  | 2 | 170 | 340
LNGS | Tubo flessibile DN40KF L=3000 |  | 2 | 220 | 440
LNGS | Tubo flessibile DN25KF L=2000 |  | 4 | 105 | 420
LNGS | Tubo flessibile DN25KF L=3000 |  | 4 | 125 | 500
LNGS | Tubo flessibile DN40KF L=16000 |  | 2 | 520 | 1040
LNGS | Tubo flessibile DN25KF L=16000 |  | 1 | 390 | 390
LNGS | Valvola manuale 90° gradi DN25KF |  | 8 | 300 | 2400
LNGS | Valvola manuale 90° gradi DN40KF |  | 4 | 340 | 1360
LNGS | Curva 90° gradi DN25KF |  | 2 | 33.5 | 67
LNGS | Anello di centraggio con O-ring in Viton DN40KF con filtro fine |  | 2 | 63.65 | 127.3
LNGS | Clamps for DN 63-250 ISO-K |  | 4 | 89 | 356
TOTALE PARZIALE |  |  |  |  | 27225.14
LNGS | Raccordo croce DN100 ISO-K |  | 2
LNGS | Dosing valve DN16KF |  | 2
LNGS | Adapter DN40CF-DN40KF |  | 1
LNGS |  |  |  | OR MEPA | 2456
LNGS | Passante rotante DN16KF |  | 1
LNGS | Flangia cieca DN 250 ISO-K |  | 1
LNGS |  |  |  | OR MEPA | 635
TOT LNGS |  |  |  |  | 30316.14
MIB | CENTERING RING, ISO-KF NW 40 - "ANELLO DI CENTRAGGIO, ISO-KF NW 40" |  | 5 | 5 | 25
MIB | FULL NIPPLE, ISO-KF NW 40- "RACCORDO, ISO-KF NW 40" |  | 1 | 33 | 33
MIB | REDUCER NIPPLE, ISO-K NW 63 - "RIDUZIONE RACCORDO, ISO-K NW 63" |  | 1 | 58 | 58
MIB | DOUBLE CLAW CLAMP, ISO-K NW - ' MORSETTI PER ATTACCHI DA VUOTO KF' |  | 10 | 30 | 300
MIB | CENTERING RING WITH OUTER - "ANELLO DI CENTRAGGIO" |  | 5 | 72 | 360
MIB | BLANK FLANGE, ISO-K NW 63 - "FLANGIA CIECA, ISO-K NW 63" |  | 2 | 50 | 100
MIB | BLANK FLANGE, ISO-K NW 63 - "FLANGIA CIECA, ISO-K NW 63" |  | 1 | 27.5 | 27.5
MIB | FULL NIPPLE, ISO-K NW 63 - "RACCORDO, ISO-K NW 63" |  | 1 | 100 | 100
MIB | FLANGIA CIECA DN63ISO K - AISI 304 |  | 6 | 38 | 228
MIB | ANELLO CENTRAGGIO DN63ISO GUARNIZ. VITON® - AISI 304 |  | 1 | 16.5 | 16.5
MIB | GRIFFA SERRAGGIO DN63/100ISO - ALLUMINIO |  | 4 | 5.5 | 22
MIB | Valvola rapida 90° KF25 inox |  | 1 | 454 | 454
MIB | COLLARE SERRAGGIO DN10/16KF - ALLUMINIO |  | 2 | 4.5 | 9
MIB | COLLARE SERRAGGIO DN20/25KF – ALLUMINIO |  | 4 | 5.5 | 22
MIB | COLLARE SERRAGGIO DN32/40KF – ALLUMINIO |  | 5 | 7 | 35
MIB | ANELLO CENTRAGGIO DN16KF GUARNIZ. NBR - AISI304 |  | 5 | 3.5 | 17.5
MIB | ANELLO CENTRAGGIO DN25KF GUARNIZ. NBR - AISI304 |  | 5 | 4.5 | 22.5
MIB | ANELLO CENTRAGGIO DN40KF GUARNIZ. NBR - AISI304 |  | 8 | 6 | 48
MIB | FLANGIA CIECA DN25KF - AISI304 |  | 2 | 5 | 10
MIB | FLANGIA CIECA DN40KF - AISI304 |  | 3 | 7 | 21
MIB | RIDUZIONE KF CONICA DN25/16 - AISI304 |  | 3 | 26.5 | 79.5
MIB | RIDUZIONE KF CONICA DN40/25 - AISI304 |  | 3 | 36 | 108
MIB | FLESSIBILE DN25KF L=1500 – FLANGIA AISI304/TUBO AISI316 |  | 1 | 85 | 85
MIB | FLESSIBILE DN25KF L=2000 – FLANGIA AISI 304/TUBO AISI316 |  | 1 | 105 | 105
MIB | FLESSIBILE DN40KF L=500 - FLANGIA AISI 304/TUBO AISI316 |  | 1 | 72 | 72
MIB | FLESSIBILE DN40KF L=1000 - FLANGIA AISI 304/TUBO AISI316 |  | 1 | 96 | 96
TOTALE PARZIALE |  |  |  |  | 2454.5
MIB | Tubo flessibile DN 25 ISO-KF l. 2000 mm |  | 1 | L'ordine ha un importo di 3517€ e comprende la componentistica e una multiroots
MIB | anelli di centraggio DN 25 ISO-KF inox/viton |  | 5
MIB | morsetti DN 25 ISO-KF alluminio |  | 5
MIB | morsetti DN 25 ISO-Gomito DN 25 ISO-KF |  | 1
MIB | Gomito DN 25 ISO-KF Portagomma DN 25 ISO-KF, diam. 12 mm |  | 1
TOTALE PARZIALE |  |  |  |  | 3517
TOTALE MIB |  |  |  |  | 5971.5
FE | RACCORDERIA CF
FE | Guarnizioni in rame
FE |  | CF16 | 30
FE |  | CF40 | 30
FE |  | CF63 | 10
FE |  | CF100 | 30
FE |  | CF150 | 15
FE |  | CF200 | 15
FE |  | CF250 | 10
FE |  | CF 14'' | 5
FE |  | CF 16.5'' | 5
FE |  |  |  |  | 4000
FE | Flange | CF16 | 4
FE |  | CF40 | 4
FE |  | CF63 | 0
FE |  | CF100 | 2
FE |  | CF150 | 2
FE |  | CF200 | 1
FE |  | CF250 | 1
FE |  | CF 14'' | 0
FE |  | CF 16.5'' | 0
FE |  |  |  |  | 2000
FE | Passanti elettrici | CF16 | 3
FE |  | CF40 | 3
FE |  | CF63 | 0
FE |  | CF100 | 2
FE |  |  |  |  | 2000
FE | RACCORDERIA KF | KF16 | 10
FE | o-ring in viton | KF25 | 10
FE |  | kF40 | 10
FE |  | LF63 | 5
FE |  | LF100 | 5
FE |  | LF150 | 5
FE |  | LF200 | 5
FE |  |  |  |  | 2000
FE | Soffietti, CF e KF, varie misure e flange
FE |  |  |  |  | 2000
FE | Transizioni varie T, gomiti o riduzioni, clamp | KF16 | 5
FE |  | KF25 | 5
FE |  | kF40 | 5
FE |  | LF63 | 3
FE |  | LF100 | 3
FE |  | LF150 | 3
FE |  | LF200 | 3
FE |  |  |  |  | 2000
FE | Fasce riscaldanti varie lunghezze e potenze
FE |  |  |  |  | 3000
FE | Valvole pneumatiche | KF16 | 2
FE |  | KF25 | 2
FE |  | kF40 | 2
FE |  |  |  |  | 2000
FE | Raccorderia GAS VCR e Swagelock
FE |  | SW 6mm | 3
FE |  | SW 10 mm | 3
FE | Tubi, soffietti,ferrule | VCR 1/8 | 10
FE |  | VCR 1/4 | 10
FE |  |  |  |  | 3000
FE | Componentistica per cryogenia
FE | Sensori in temperatura
FE | Sonde Hall
FE | Isolamento termico
FE |  |  |  |  | 4000
FE | Kit di manutenzione Pompe
FE |  |  |  |  | 3000
FE | Manipolatori
FE |  |  |  |  | 3000
TOT FE |  |  |  |  | 32000
ROMA TOV | Flangia Cieca DN16CF Acciaio - 418-CFB16 |  | 4 | 6.7 | 26.8
ROMA TOV | Viewport Acciaio Inox UV fused Silica DN 16 CF 110-VPQZ-C16-UV |  | 6 | 160 | 960
ROMA TOV | Copper Gasket Vacuum annealed DN 16 CF - 411-CG-16-A |  | 10 | 3.8 | 38
ROMA TOV | PT G28 290 - Dual Gauge dispaly and control unit |  | 1 | 1120 | 1120
ROMA TOV | P 5215 120 TF - active piezo transmitter G 1/4" 0,2-2200 mbar |  | 1 | 890 | 890
ROMA TOV | G8701A - gruppo di pompaggio turbo carrellato |  | 1 | 8089.85 | 8089.85
ROMA TOV | Sensore da vuoto full range pirani FRG-700 FRG7000KF25 |  | 1 | 771.75 | 771.75
ROMA TOV | Cavo di collegamento AGCCBL203 - lunghezza 3 m |  | 1 | 34 | 34
ROMA TOV | Cercafughe elettronico ad elio ASM 340 codice JSVA00A2MH9A |  | 1 | 12400 | 12400
ROMA TOV | Carrello per cercafughe elettronico ad elio |  | 1 | 799 | 799
ROMA TOV | Controller e sensore di lettura vuoto |  | 1 | 2412.33 | 2412.33
ROMA TOV | Kit sistema di pompaggio (POMPA TURBOMOLECOLARE HIPACE 700 + 2 SENSORI PKR251 FULL RANGE) |  | 1 | 9992 | 9992
ROMA TOV | Lettore di pressione PVI 151029 |  | 1 | 1190.65 | 1190.65
ROMA TOV | Valvola gate manuale |  | 1 | 1720 | 1720
ROMA TOV | Angle valve DN 25 ISO-KF, 85-248 V AC electromagnetically operated stainless steel housing |  | 2 | 785 | 1570
ROMA TOV | Valvola KF 25 a membrana in Viton |  | 1 | 210 | 210
ROMA TOV | 05-300-381 Attuatore Lineare motorizzato UHV Corsa: Ass. 150mm; Flg:DN50/DN40 |  | 1 | 9300 | 9300
ROMA TOV | 05-300-382 Attuatore Lineare motorizzato UHV. Corsa Ass. 80mm; Flg:DN70 |  | 1 | 9300 | 9300
ROMA TOV | Finestra fused silica UHV diode laser V-coat 780 nm on CF40 articolo 3-FS-0100-DIO-1.4 |  | 2 | 710 | 1420
ROMA TOV | COLLARE DI SERRAGGIO DN 40 KF |  | 10 | 5 | 50
ROMA TOV | ANELLO DI CENTRAGGIO DN 40 KF |  | 10 | 6.5 | 65
ROMA TOV | Flangia cieca in acciaio inox DN 25 Kf |  | 4 | 5.5 | 22
ROMA TOV | Flangia cieca in acciaio inox DN 40 KF |  | 4 | 6.5 | 26
ROMA TOV | RACCORDO AT DN 40 KF |  | 2 | 60 | 120
ROMA TOV | Riduzione in acciaio inox DN 40/25 KF |  | 3 | 22 | 66
ROMA TOV | Tubo flessibile in acciaio inox DN 25 KF, L=1000 mm |  | 1 | 57 | 57
ROMA TOV | Tubo flessibile flangiato DN25 KF - 452-Hose- K25 -1000 |  | 2 | 46 | 92
ROMA TOV | Anello di centraggio DN25 KF - 431-KF25 - CR-SV |  | 7 | 3.2 | 22.4
ROMA TOV | Morsetto di serraggio DN20/25 KF - 431-KF25-C |  | 7 | 3.4 | 23.8
ROMA TOV | Valvola di passaggio manuale in acciaio DN25 - 518-AVKF25-V |  | 2 | 340 | 680
ROMA TOV | Serie di bulloni per flange DN40 CF - 411-M6x35-SETHX |  | 2 | 8.5 | 17
ROMA TOV | Pezzo intermedio DN25 KF 433-KFX2-25 |  | 1 | 26 | 26
ROMA TOV | Pezzo intermedio DN25KF - 433-KFX2-25 |  | 1 | 27 | 27
ROMA TOV | Anello di centraggio DN40 KF - 431-KF40-CR-SV |  | 2 | 3.6 | 7.2
ROMA TOV | Morsetto di serraggio DN32/40 KF - 431-KF40-C |  | 2 | 3.8 | 7.6
ROMA TOV | Valvola di passaggio manuale in acciaio DN40 -518-AVK40-V |  | 1 | 470 | 470
ROMA TOV | Pezzo a TEE DN16 CF - 418-CFX3-C16 |  | 4 | 62 | 248
ROMA TOV | Serie di 25 bulloni per flange DN16CF - 411-M4X20-SET-SH |  | 4 | 9 | 36
ROMA TOV | Flangia cieca direvole DN100 CF- 418-CFB100R |  | 1 | 68 | 68
ROMA TOV | Pezzo di passaggio DN40CF/40KF -460-C40-K40 |  | 1 | 50 | 50
ROMA TOV | Set di guarnizioni di rame DN16CF da 10 pezzi - 411-CG-16-H |  | 3 | 3.6 | 10.8
ROMA TOV | Pezzo di riduzione DN40/16CF - 418-C40-C16 |  | 1 | 24 | 24
ROMA TOV | Set di guarnzioni di rame DN40CF da 10 pezzi - 411-CG40-H |  | 2 | 9.6 | 19.2
ROMA TOV | Pezzo di riduzione DN100/40 CF - 418-CF100-40 |  | 2 | 87 | 174
ROMA TOV | Set di guarnizioni di rame DN 16 CF da 10 pezzi 411- CG16-H |  | 3 | 3.6 | 10.8
ROMA TOV | Valvola KF 25 a membrana in Viton |  | 1 | 210 | 210
TOT TOV |  |  |  |  | 64874.18
MI | Colla da vuoto piu' applicatore |  | 1 | 429.44 | 429.44
MI | Pompa Roots ADIXEN ACP15 |  | 1 | 5611 | 5611
MI | Centering Ring ISO KF 25 |  | 10 | 4.27 | 42.7
MI | Quick Release Clamp ISO kF 25 |  | 10 | 14.64 | 146.4
MI | Reducer Nipple ISO KF 25 |  | 5 | 21.96 | 109.8
MI | Centering Ring ISO KF 16 |  | 5 | 3.66 | 18.3
MI | Quick Release Clamp ISO kF 16 |  | 5 | 12.2 | 61
MI | Blank Flange ISO KF 16 |  | 5 | 3.9 | 19.5
MI | Blank Flange ISO KF 25 |  | 5 | 4.4 | 22
MI | Elbow 90° ISO KF 25 |  | 3 | 36.6 | 109.8
MI | Tee ISO KF 25 |  | 3 | 36.6 | 109.8
MI | Valvola da vuoto AVC 025 SA |  | 2 | 223.6 | 447.2
MI | Dysplay e Controllo di pressione DPG 202 e cavi RS‐485 |  | 1 | 1037.25 | 1037.25
MI | Tubi da vuoto flessibili ISO KF25 1000mm |  | 5 | 90.28 | 451.4
MI | Cercafughe ASM 310 e accessori |  | 1 | 20740 | 20740
TOT PARZIALE MI |  |  |  |  | 29355.59
MI | raccorderia da vuoto rif. Ess-at-02.0200, rev 1, p 17, 18 e 19; ESS.TOOLING-01.00.01, P. 5-6-7-8, CON ELETTROLUCIDATURA, con altri dettagli |  | 1 | TOTALE | 3850
MI | C-01.00.01 pos.5 ATTACCO TIPO 1 |  | 8
MI | C-01.00.01 pos.7 PIASTRA INVERSIONE |  | 2
MI | C-01.00.01 pos.6 PERNO DI INVERSIONE |  | 2
MI | C-01.00.01 pos.8 ATTACCO TIPO 2 |  | 8
MI | CURVA DN40CF RIF.ESS-AT-02.02 .00 pos.17 |  | 1
MI | SOFFIETTO CF40 RIF.ESS-AT-02.02 .00 pos.18 |  | 1
MI | DOPPIO GIUNTO DN40CF RIF.ESS-AT-02.02.00 pos.19 |  | 1
MI | pacchetto raccorderia |  | 1 | 3312.3 | 3312.3
MI | Conical Adapter, DN 100 ISO-K, DN 100 ISOK/40 KF, stainless steel, l=63 mm |  | 2 | 105 | 210
MI | Conical Adapter, DN 100 ISO-K, DN 100 ISOK/50 KF, stainless steel, l=63 mm |  | 2 | 115 | 230
MI | Straight Adapter, DN 100 ISO-K, DN 100 ISOK/40 KF, stainless steel, l=40 mm |  | 2 | 79 | 158
MI | Straight Adapter, DN 100 ISO-K, DN 100 ISOK/50 KF, stainless steel, l=40 mm |  | 2 | 89 | 178
MI | Ball valve, DN 16 ISO-KF Manual,stainless steel |  | 3 | 65 | 195
MI | Ball valve, DN 25 ISO-KF Manual,stainless steel |  | 5 | 95 | 475
MI | Ball valve, DN 16 ISO-KF Manual,stainless steel |  | 4 | 150 | 600
MI | valvola vuoto CF40, identica alla VAT serie 010, bobina singola, 24 V DC, con indicatori di finecorsa, |  | 1 | 1750 | 1750
MI | Clamping Ring, DN 50 ISO-KF, Aluminum ADC 12, for Elastomer Seal |  | 6 | 8.2 | 49.2
MI | Clamping Ring, DN 32/40 ISO-KF, Aluminum ADC 12, for Elastomer Seal |  | 8 | 4.1 | 32.8
MI | Clamping Ring, DN 20/25 ISO-KF, Aluminum ADC 12, for Elastomer Seal |  | 10 | 3.9 | 39
MI | Clamping Ring, DN 10/16 ISO-KF, Aluminum ADC 12, for Elastomer Seal |  | 4 | 3.4 | 13.6
MI | Bolt Clamp, DN 50 ISO-KF Aluminum, for Metal Seals, 3-Part |  | 2 | 55 | 110
MI | Bolt Clamp, DN 32/40 ISO-KF Aluminum, for Metal Seals, 3-Part |  | 2 | 37 | 74
MI | Centering Ring, DN 50 ISO-KF Stainless Steel 316L/1.4404, O Ring FKM |  | 8 | 12.67 | 101.36
MI | Centering Ring, DN 50 ISO-KF Aluminum EN AW-6061/Oring NBR |  | 8 | 11.26 | 90.08
TOTALE PARZIALE MI |  |  |  |  | 7618.34
MI | Corrugated |  | 2 | 122 | 244
MI | Hose, DN 25 |  |  |  | 0
MI | ISO-KF |  |  |  | 0
MI | Stainless steel, |  |  |  | 0
MI | flexible, length |  |  |  | 0
MI | 2000 mm |  |  |  | 0
MI | Corrugated |  | 2 | 152 | 304
MI | Hose, DN 40 |  |  |  | 0
MI | ISO-KF |  |  |  | 0
MI | Stainless steel, |  |  |  | 0
MI | flexible, length |  |  |  | 0
MI | 2000 mm |  |  |  | 0
MI | Hose Connector, |  | 2 | 75 | 150
MI | DN 16 ISO-KF |  |  |  | 0
MI | Aluminum EN |  |  |  | 0
MI | AW- |  |  |  | 0
MI | 6082/3.2315, for |  |  |  | 0
MI | 12 mm hose |  |  |  | 0
MI | Hose Connector, |  | 2 | 75 | 150
MI | DN 16 ISO-KF |  |  |  | 0
MI | Aluminum EN |  |  |  | 0
MI | AW- |  |  |  | 0
MI | 6082/3.2315, for |  |  |  | 0
MI | 8 mm hose |  |  |  | 0
MI | Hose Connector, |  | 2 | 95 | 190
MI | DN 25 ISO-KF |  |  |  | 0
MI | Aluminum EN |  |  |  | 0
MI | AW- |  |  |  | 0
MI | 6082/3.2315, for |  |  |  | 0
MI | 8 mm hose |  |  |  | 0
MI | Hose Connector, |  | 5 | 95 | 475
MI | DN 25 ISO-KF |  |  |  | 0
MI | Aluminum EN |  |  |  | 0
MI | AW- |  |  |  | 0
MI | 6082/3.2315, for |  |  |  | 0
MI | 12 mm hose |  |  |  | 0
MI | Hose Connector, |  | 2 | 15 | 30
MI | DN 40 ISO-KF |  |  |  | 0
MI | Aluminum EN |  |  |  | 0
MI | AW- |  |  |  | 0
MI | 6082/3.2315, for |  |  |  | 0
MI | 12 mm hose |  |  |  | 0
MI | Hose Connector, |  | 2 | 16 | 32
MI | DN 25 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 304/1.4301, for |  |  |  | 0
MI | 20 mm hose |  |  |  | 0
MI | Hose Connector, DN 25 ISO-KF Stainless Steel 304/1.4301, for 16 mm hose |  | 2 | 16 | 32
MI | Tee, DN 25 ISO- |  | 5 | 40 | 200
MI | KF Stainless |  |  |  | 0
MI | Steel |  |  |  | 0
MI | 304/1.4301, |  |  |  | 0
MI | length 100 mm |  |  |  | 0
MI | Tee, DN 40 ISO- |  | 3 | 70 | 210
MI | KF Stainless |  |  |  | 0
MI | Steel |  |  |  | 0
MI | 304/1.4301, |  |  |  | 0
MI | length 130 mm |  |  |  | 0
MI | Tee, DN 50 ISO- |  | 3 | 80 | 240
MI | KF Stainless |  |  |  | 0
MI | Steel |  |  |  | 0
MI | 304/1.4301, |  |  |  | 0
MI | length 140 mm |  |  |  | 0
MI | Straight |  | 2 | 20 | 40
MI | Reducer, DN 25 |  |  |  | 0
MI | ISO-KF DN 25- |  |  |  | 0
MI | 16 ISO-KF, |  |  |  | 0
MI | stainless steel, |  |  |  | 0
MI | length 40 mm |  |  |  | 0
MI | Straight |  | 2 | 27 | 54
MI | Reducer, DN 40 |  |  |  | 0
MI | ISO-KF DN 40- |  |  |  | 0
MI | 16 ISO-KF, |  |  |  | 0
MI | stainless steel, |  |  |  | 0
MI | length 40 mm |  |  |  | 0
MI | Straight |  | 6 | 28 | 168
MI | Reducer, DN 40 |  |  |  | 0
MI | ISO-KF DN 40- |  |  |  | 0
MI | 25 ISO-KF, |  |  |  | 0
MI | stainless steel, |  |  |  | 0
MI | length 40 mm |  |  |  | 0
MI | Straight |  | 2 | 29 | 58
MI | Reducer, DN 50 |  |  |  | 0
MI | ISO-KF DN 50- |  |  |  | 0
MI | 16 ISO-KF, |  |  |  | 0
MI | stainless steel, |  |  |  | 0
MI | length 40 mm |  |  |  | 0
MI | Straight |  | 4 | 33 | 132
MI | Reducer, DN 50 |  |  |  | 0
MI | ISO-KF DN 50- |  |  |  | 0
MI | 40 ISO-KF, |  |  |  | 0
MI | stainless steel, |  |  |  | 0
MI | length 40 mm |  |  |  | 0
MI | Straight |  | 2 | 33 | 66
MI | Reducer, DN 50 |  |  |  | 0
MI | ISO-KF DN 50- |  |  |  | 0
MI | 25 ISO-KF, |  |  |  | 0
MI | stainless steel, |  |  |  | 0
MI | length 40 mm |  |  |  | 0
MI | Elbow, 90°, DN |  | 3 | 30 | 90
MI | 25 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 304/1.4301 |  |  |  | 0
MI | Elbow, 90°, DN |  | 2 | 36 | 72
MI | 16 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 304/1.4301 |  |  |  | 0
MI | Elbow, 90°, DN 40 ISO-KF Stainless Steel 304/1.4301 |  | 2 | 45 | 90
MI | Elbow, 45°, DN |  | 1 | 48 | 48
MI | 25 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 304/1.4301 |  |  |  | 0
MI | Elbow, 90°, DN |  | 2 | 58 | 116
MI | 50 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 304/1.4301 |  |  |  | 0
MI | Centering Ring, |  | 4 | 27 | 108
MI | DN 10 ISO-KF |  |  |  | 0
MI | Aluminum EN |  |  |  | 0
MI | AW-6061/O- |  |  |  | 0
MI | Ring NBR |  |  |  | 0
MI | Centering Ring, |  | 5 | 28 | 140
MI | DN 16 ISO-KF |  |  |  | 0
MI | Aluminum EN |  |  |  | 0
MI | AW-6061/O- |  |  |  | 0
MI | Ring NBR |  |  |  | 0
MI | Centering Ring, |  | 10 | 32 | 320
MI | DN 25 ISO-KF |  |  |  | 0
MI | Aluminum EN |  |  |  | 0
MI | AW-6061/O- |  |  |  | 0
MI | Ring NBR |  |  |  | 0
MI | Centering Ring, |  | 10 | 46 | 460
MI | DN 40 ISO-KF |  |  |  | 0
MI | Aluminum EN |  |  |  | 0
MI | AW-6061/O- |  |  |  | 0
MI | Ring NBR |  |  |  | 0
MI | Centering Ring, |  | 4 | 4 | 16
MI | DN 10 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 316L/1.4404, O- |  |  |  | 0
MI | Ring FKM |  |  |  | 0
MI | Centering Ring, |  | 5 | 4 | 20
MI | DN 16 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 316L/1.4404, O- |  |  |  | 0
MI | Ring FKM |  |  |  | 0
MI | Centering Ring, |  | 10 | 45 | 450
MI | DN 25 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 316L/1.4404, O- |  |  |  | 0
MI | Ring FKM |  |  |  | 0
MI | Reducer |  | 4 | 5 | 20
MI | Centering Ring, |  |  |  | 0
MI | DN 16 KF DN |  |  |  | 0
MI | 16-10 ISO-KF, |  |  |  | 0
MI | stainless steel, |  |  |  | 0
MI | o-ring FKM |  |  |  | 0
MI | Reducer |  | 2 | 85 | 170
MI | Centering Ring, |  |  |  | 0
MI | DN 25 KF DN |  |  |  | 0
MI | 25-20 ISO-KF, |  |  |  | 0
MI | stainless steel, |  |  |  | 0
MI | o-ring FKM |  |  |  | 0
MI | Reducer |  | 2 | 9 | 18
MI | Centering Ring, |  |  |  | 0
MI | DN 40 KF DN |  |  |  | 0
MI | 40-32 ISO-KF, |  |  |  | 0
MI | stainless steel, |  |  |  | 0
MI | o-ring FKM |  |  |  | 0
MI | Bolt Clamp, DN 10 / 16 ISO-KF Aluminum, for Metal Seals, 3- Part |  | 2 | 25 | 50
MI | Bolt Clamp, DN |  | 3 | 28 | 84
MI | 20 / 25 ISO-KF |  |  |  | 0
MI | Aluminum, for |  |  |  | 0
MI | Metal Seals, 3- |  |  |  | 0
MI | Part |  |  |  | 0
MI | Blank Flange, |  | 4 | 38 | 152
MI | DN 16 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 304/1.4301 |  |  |  | 0
MI | Blank Flange, |  | 6 | 48 | 288
MI | DN 25 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 304/1.4301 |  |  |  | 0
MI | Blank Flange, |  | 2 | 65 | 130
MI | DN 40 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 304/1.4301 |  |  |  | 0
MI | Blank Flange, |  | 4 | 105 | 420
MI | DN 50 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 304/1.4301 |  |  |  | 0
MI | Centering Ring, |  | 10 | 55 | 550
MI | DN 40 ISO-KF |  |  |  | 0
MI | Stainless Steel |  |  |  | 0
MI | 316L/1.4404, O- |  |  |  | 0
MI | Ring FKM |  |  |  | 0
TOT PARZIALE MI |  |  |  |  | 6587
TOT MI |  |  |  |  | 47410.93
Roma Tor Vergata
natura | fornitore | importo (IVA Esclusa) | non preso in considerazione ai fini del conteggio in quanto componentistica attiva
Finestre ingresso e uscita per cella Raman |  | 1024.8
Misuratore di pressione e di vuoto con controller |  | 2010
sistema di pompaggio |  | 8895.6
Cercafughe elettronico ad elio + Carrello per cercafughe elettronico ad elio |  | 13199
Sistema di controllo pompe, valvola gate e misuratore da vuoto |  | 6393.89
componentistica da vuoto (morsetti, valvole, guarnizioni, bulloni, anelli di centraggio) |  | 2013.8
Componenti per realizzazione stazione pompante |  | 10075.82
Controller e sensore di lettura vuoto Leybold |  | 2412.33
Pompa turbomolecolare HiPace 700 + 2 sensori PKR 251 full range |  | 9992
lettore di pressione TPG 362 a 2 canali |  | 1190.65
Pompa a secco roots multistadio ACP28+valvola gate |  | 6210
Valvole di blocco elettromagnetica DN25 |  | 1570
Valvola manuale da vuoto KF25 a membrana in Viton |  | 210
Pompa rotativa doppio stadio Pascal 2015 SD |  | 1300
componentistica da vuoto (anelli di centraggio, collare, flange, raccordi, tubi) |  | 406
Attuatori Lineari motorizzati |  | 18600
Finestre per ultra alto vuoto |  | 1420
Componenti finestre per ultra alto vuoto |  | 3757
LNF
LNF | Descrizione: Oblò in fused silica e flange cieche in standard DN16CF e DN40CF da UHV per |  | 1 |  | 4145
LNF | laboratorio servizio vuoto
LNF
LNF
LNF
LNF | Articoli
LNF | Descrizione:
LNF | DN16CF and DN40CF high
LNF | purity fused silica UV grade
LNF | viewports, transmission 90@
LNF | 250nm, DN40CF and DN16CF
LNF | flanges AISI316L come da
LNF | PZ
LNF | Qta:
LNF | 1,00
LNF | 4145,00+IVA
LNF
LNF
LNF
LNF | Descrizione: guarnizioni per flange UHV CF40 e CF 63, valvole ad angolo e tubi flessibili per |  | 1 |  | 4699
LNF | UHV per laboratorio servizio vuoto
LNF
LNF
LNF
LNF | Articoli
LNF | Descrizione:
LNF | GUARNIZIONI PER FLANGE UHV
LNF | CF40 E CF63, VALVOLE AD
LNF | ANGOLO E TUBI FLESSIBILI PER
LNF | UHV
LNF | Udm:
LNF | PZ
LNF | Qta:
LNF | 1,00
LNF | Prezzo:
LNF | 4.699,00 +IVA
LNF
LNF
LNF
LNF
LNF | Descrizione: raccordi da ultra alto vuoto per laboratorio servizio vuoto tra flange QCF40-316, |  | 1 |  | 1960
LNF | KF e DN40CF
LNF
LNF
LNF
LNF | Articoli
LNF | Descrizione:
LNF | Raccordi da ultra vuoto per
LNF | laboratorio tra flange
LNF | QCF40-316, KF E DN40CF
LNF | PZ
LNF | Qta:
LNF | 1,00
LNF | Prezzo:
LNF | 1.960,00 +IVA
LNF
LNF
LNF
LNF | Descrizione: Fornitura di componenti da ultra alto vuoto per ondulatore SPARC |  | 1 |  | 1573.35
LNF
LNF
LNF
LNF | Articoli
LNF | Descrizione:
LNF | teste di misura,
LNF | guarnizioni CF, bulloneria
LNF | varian, flange cieche
LNF | Udm:
LNF | PZ
LNF | Qta:
LNF | 1,00
LNF | Prezzo:
LNF | 1.573,35 +IVA
LNF |  |  |  |  | 12377.35
LNS CATANIA
Servizio produzione fasci Ionici |  |  |  |  | IVA compresa
LNS |  |  |  |  | importo | ANNO
LNS | FLANGIA SPECIALE (fuori standard) |  |  |  | 400 | 2014
LNS | FLANGE E ADATTATORI |  |  |  | 1350 | 2014
LNS | Componenti da vuoto x sorgenti ECR e SPUTTERING |  |  |  | 3050 | 2014
LNS | SOFFIETTI PER ATTUATORI |  |  |  | 2700 | 2015
LNS | LINEAR TRANSLATOR |  |  |  | 5100 | 2015
LNS | Componenti da vuoto x sorgenti ECR e SPUTTERING |  |  |  | 5000 | 2016
LNS | Componenti da vuoto x sorgenti ECR e SPUTTERING |  |  |  | 7000 | 2016
LNS | PASSANTI ELETTRICI E BREAK CERAMICI |  |  |  | 2100 | 2016
LNS |  |  |  |  | 26700 | 8900 | per anno
LNS
LNS
LNS
Reparto APPARATI SPERIMENTALI |  |  |  |  | importo
LNS | FLANGE SPECIALI (fuori standard) |  |  |  | 1325 | 2014
LNS | FLANGE E ADATTATORI |  |  |  | 7787 | 2014
LNS | COMPONENTI DA VUOTO PER CAMERE e LINEE DI FASCIO |  |  |  | 15952 | 2015
LNS | COMPONENTI DA VUOTO PER CAMERE |  |  |  | 1200 | 2016
LNS | FLANGE E ADATTATORI |  |  |  | 1000 | 2016
LNS |  |  |  |  | 27264 | 9088 | per anno
LNS
LNS
LNS
Reparto Vuoto Ciclotrone Superconduttore e CRIOGENIA |  |  |  |  | importo
LNS | FLANGE E ADATTATORI |  |  |  | 4000 | 2014
LNS | VALVOLE ELETTROPNEUMATICHE |  |  |  | 2500 | 2014
LNS | COMPONENTI PER PIPING LINEE DI FORELINE |  |  |  | 3900 | 2015
LNS | FLANGE E ADATTATORI |  |  |  | 500 | 2015
LNS | COMPONENTI PER PIPING LINEE DI FORELINE |  |  |  | 4900 | 2015
LNS | FLANGE E ADATTATORI |  |  |  | 800 | 2016
LNS | COMPONENTI DA VUOTO PER LINEE DI FASCIO |  |  |  | 3500 | 2016
LNS |  |  |  |  | 20100 | 6700 | per anno
LNS
LNS
TOTALE LNS |  |  |  |  | 74064 | 24688 | per anno
LNL
maggio 2016 Lotto 1
LNL | Descrizione prodotto | Materiale | Codice prodotto | N° pezzi | Prezzo/cad | Prezzo Totale
LNL | ISO-KF O-Ring KF 40 NBR (x10 pcs) | NBR |  | 2 |  | 0
LNL | ISO-KF O-Ring KF 40 Silicone (x10 pcs) | Silicone (VMQ) |  | 1 |  | 0
LNL | ISO-KF O-Ring KF 40 EPDM (x10 pcs) | EPDM |  | 1 |  | 0
LNL | ISO-KF Clamp for Elastomer Seal KF10/16 | Aluminum |  | 30 |  | 0
LNL | ISO-KF Clamp for Elastomer Seal KF20/25 | Aluminum |  | 70 |  | 0
LNL | ISO-KF Clamp for Elastomer Seal KF32/40 | Aluminum |  | 44 |  | 0
LNL | ISO-KF Clamp for Elastomer Seal KF50 | Aluminum |  | 20 |  | 0
LNL | ISO-KF Bulkhead Clamp KF10/16 | Aluminum |  | 2 |  | 0
LNL | ISO-KF Bulkhead Clamp KF20/25 | Aluminum |  | 10 |  | 0
LNL | ISO-KF Bulkhead Clamp KF32/40 | Aluminum |  | 10 |  | 0
LNL | ISO-KF Bulkhead Clamp KF50 | Aluminum |  | 4 |  | 0
LNL | ISO-KF Blank Flange KF16 | Aluminum |  | 10 |  | 0
LNL | ISO-KF Blank Flange KF25 | Aluminum |  | 20 |  | 0
LNL | ISO-KF Blank Flange KF40 | Aluminum |  | 22 |  | 0
LNL | ISO-KF Blank Flange KF50 | Aluminum |  | 10 |  | 0
LNL | ISO-KF Straight Reducer KF40/KF25 L= 40mm | Aluminum |  | 11 |  | 0
LNL | ISO-KF Straight Reducer KF50/KF40 L= 40mm | Aluminum |  | 7 |  | 0
LNL | ISO-KF Reducer Tee KF40/KF25/KF40 | Aluminum |  | 3 |  | 0
LNL | ISO-KF Tee KF40 | Aluminum |  | 1 |  | 0
LNL | ISO-KF Tee KF40 | Aluminum EN AW-2007 |  | 1 |  | 0
LNL | ISO-KF Tee KF50 | Aluminum EN AW-2007 |  | 1 |  | 0
LNL | ISO-KF Aluminum Edged Seal KF10/16 | Aluminum |  | 30 |  | 0
LNL | ISO-KF Aluminum Edged Seal KF20/25 | Aluminum |  | 20 |  | 0
LNL | ISO-KF Aluminum Edged Seal KF32/40 | Aluminum |  | 50 |  | 0
LNL | ISO-KF Aluminum Edged Seal KF50 | Aluminum |  | 10 |  | 0
LNL | ISO-KF Centering Ring KF10 | Aluminum/FPM |  | 10 |  | 0
LNL | ISO-KF Centering Ring KF16 | Aluminum/FPM |  | 20 |  | 0
LNL | ISO-KF Centering Ring KF25 | Aluminum/FPM |  | 30 |  | 0
LNL | ISO-KF Centering Ring KF40 | Aluminum/FPM |  | 34 |  | 0
LNL | ISO-KF Centering Ring KF50 | Aluminum/FPM |  | 20 |  | 0
LNL | ISO-KF Reducer Centering Ring KF10/KF16 | Aluminum/FPM |  | 6 |  | 0
LNL | ISO-KF Flange with male NPT1/4" - KF16 | Stainless Steel 304 |  | 6 |  | 0
LNL | ISO-KF Flange with male NPT1/4" - KF25 | Stainless Steel 304 |  | 8 |  | 0
LNL | ISO-KF Flange with male NPT1/4" - KF40 | Stainless Steel 304 |  | 6 |  | 0
LNL | ISO-KF Hose Connector KF25 - Ø12mm | Stainless Steel 304 |  | 15 |  | 0
LNL | ISO-KF Swagelok® Adapter KF25 - 6mm | Stainless Steel 304 for Metric Sizes |  | 2 |  | 0
LNL | ISO-KF Swagelok® Adapter KF40 - 10mm | Stainless Steel 304 for Metric Sizes |  | 2 |  | 0
LNL | ISO-KF Clamp for Metal Seals KF10/16 | Stainless Steel 304 |  | 8 |  | 0
LNL | ISO-KF Clamp for Metal Seals KF40 | Stainless Steel 304 |  | 12 |  | 0
LNL | ISO-KF Blank Flange KF16 | Stainless Steel 304 |  | 4 |  | 0
LNL | ISO-KF Blank Flange KF25 | Stainless Steel 304 |  | 6 |  | 0
LNL | ISO-KF Blank Flange KF40 | Stainless Steel 304 |  | 6 |  | 0
LNL | ISO-KF 4-Way Cross KF10 | Stainless Steel 304 |  | 6 |  | 0
LNL | ISO-KF Elbow, 90° KF16 | Stainless Steel 304 |  | 3 |  | 0
LNL | ISO-KF Elbow, 90° KF25 | Stainless Steel 304 |  | 15 |  | 0
LNL | ISO-KF Elbow, 90° KF40 | Stainless Steel 304 |  | 3 |  | 0
LNL | ISO-KF Straight Reducer KF25/KF16 L=40 mm | Stainless Steel 304 |  | 6 |  | 0
LNL | ISO-KF Straight Reducer KF40/KF25 L=40 mm | Stainless Steel 304 |  | 6 |  | 0
LNL | ISO-KF Straight Reducer KF50/KF40 L=40 mm | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF Reducer Tee KF25/KF16/KF25 | Stainless Steel 304 |  | 6 |  | 0
LNL | ISO-KF Reducer Tee KF40/KF16/KF40 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-KF Tee KF16 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-KF Tee KF25 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-KF Tee KF40 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible KF25 L=500 mm | Stainless Steel 304 |  | 4 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible KF25 L=1000 mm | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible KF25 L=1500 mm | Stainless Steel 304 |  | 7 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible KF40 L=500 mm | Stainless Steel 304 |  | 3 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible KF40 L=750 mm | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible KF40 L=1000 mm | Stainless Steel 304 |  | 3 |  | 0
LNL | ISO-KF Outer Centering Ring with Inner Support Ring KF 40 | NBR/Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-KF Clamping Ring for Elastomer Seal,Plastic KF10/16 | Plastic |  | 4 |  | 0
LNL | ISO-KF Clamping Ring for Elastomer Seal,Plastic KF20/25 | Plastic |  | 4 |  | 0
LNL | ISO-KF Clamping Ring for Elastomer Seal,Plastic KF32/40 | Plastic |  | 4 |  | 0
LNL | ISO-KF Clamping Ring for Elastomer Seal,Plastic KF50 | Plastic |  | 2 |  | 0
LNL | ISO-KF Centering Ring, Plastic KF16 | FPM/PTFE |  | 10 |  | 0
LNL | ISO-KF Centering Ring, Plastic KF25 | FPM/PTFE |  | 10 |  | 0
LNL | ISO-KF Centering Ring, Plastic KF40 | FPM/PTFE |  | 40 |  | 0
LNL | ISO-KF Centering Ring KF50 | FPM/Plastic |  | 15 |  | 0
LNL | ISO-KF Centering Ring KF16 | Silicon/Plastic |  | 2 |  | 0
LNL | ISO-KF Centering Ring KF25 | Silicon/Plastic |  | 4 |  | 0
LNL | ISO-KF Centering Ring KF40 | Silicon/Plastic |  | 6 |  | 0
LNL | ISO-KF Glass Blank Flange KF 25 | Borosilicate |  | 2 |  | 0
LNL | ISO-KF Glass Blank Flange KF 40 | Borosilicate |  | 2 |  | 0
LNL | ISO-KF Glass Blank Flange KF 50 | Borosilicate |  | 1 |  | 0
LNL | ISO-KF Blank Flange KF16 | Stainless Steel 316L |  | 2 |  | 0
LNL | ISO-KF Blank Flange KF25 | Stainless Steel 316L |  | 2 |  | 0
LNL | ISO-KF Blank Flange KF40 | Stainless Steel 316L |  | 2 |  | 0
LNL | ISO-KF Blank Flange KF50 | Stainless Steel 316L |  | 2 |  | 0
LNL | ISO-KF Centering Ring KF16 | FPM/Stainless Steel 316L |  | 10 |  | 0
LNL | ISO-KF Centering Ring KF25 | FPM/Stainless Steel 316L |  | 10 |  | 0
LNL | ISO-KF Centering Ring KF40 | FPM/Stainless Steel 316L |  | 25 |  | 0
LNL | ISO-KF Centering Ring KF50 | FPM/Stainless Steel 316L |  | 10 |  | 0
LNL | ISO-K O-Rings DN100 (x5 pcs) | FPM/FKM |  | 2 |  | 0
LNL | ISO-K O-Rings DN200 (x5 pcs) | FPM/FKM |  | 2 |  | 0
LNL | ISO-K Double Claw Clamp DN63-100 | Aluminum - Screw: Stainless Steel |  | 120 |  | 0
LNL | ISO-K Double Claw Clamp DN160-250 | Aluminum - Screw: Stainless Steel |  | 120 |  | 0
LNL | ISO-K Claw Clamps DN63-100 | Aluminum - Screw: Stainless Steel |  | 120 |  | 0
LNL | ISO-K Claw Clamps DN160-250 | Aluminum - Screw: Stainless Steel |  | 120 |  | 0
LNL | ISO-K Blank Flange DN100 | Aluminum |  | 10 |  | 0
LNL | ISO-K Blank Flange DN200 | Aluminum |  | 6 |  | 0
LNL | ISO-K/KF Conical Adapter ISO-K63/KF50 | Aluminum |  | 1 |  | 0
LNL | ISO-K Metal Seal, Aligned at Outer Diameter DN100 | Aluminum |  | 6 |  | 0
LNL | ISO-K Metal Seal, Aligned at Outer Diameter DN200 | Aluminum |  | 6 |  | 0
LNL | ISO-K Centering Ring with Outer Ring DN100 | Aluminum |  | 12 |  | 0
LNL | ISO-K Centering Ring with Outer Ring DN200 | Aluminum |  | 12 |  | 0
LNL | ISO-K 5-Way Cross DN100 Lmax=216 mm ODpipemax=108 mm | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-K Instrument Cross DN100-DN100 with lateral KF 16-KF25-KF40 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-K/KF Straight Adapter ISO-K100/KF40 | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-K/KF Straight Adapter ISO-K100/KF50 | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-K Reducer, Straight ISO-K100/ISO-K63 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-K Reducer, Straight ISO-K200/ISO-K100 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-K Spring Bellow DN100 L=130mm | Stainless Steel 305 |  | 1 |  | 0
LNL | ISO-K Spring Bellow DN100 L=150mm | Stainless Steel 306 |  | 1 |  | 0
LNL | ISO-K Diaphragm Bellows DN100 L=106 mm | Stainless Steel 316L |  | 1 |  | 0
LNL | Flat gasket in elastomero CF16 | FPM |  | 4 |  | 0
LNL | Flat gasket in elastomero CF40 | FPM |  | 1 |  | 0
LNL | CF Flat elastomer gasket with centering lip - CF40 | FPM |  | 2 |  | 0
LNL | Flat gasket in elastomero DN63 CF | FPM |  | 4 |  | 0
LNL | CF Flat elastomer gasket - CF100 | FPM |  | 12 |  | 0
LNL | CF Flat elastomer gasket with centering lip - CF100 | FPM |  | 6 |  | 0
LNL | CF Flat elastomer gasket - CF160 | FPM |  | 6 |  | 0
LNL | CF Flat elastomer gasket with centering lip - CF160 | FPM |  | 2 |  | 0
LNL | CF Flat elastomer gasket - CF200 | FPM |  | 4 |  | 0
LNL | CF Flat elastomer gasket - CF250 | FPM |  | 2 |  | 0
LNL | Flat gasket in elastomero DN40 CF | FPM |  | 4 |  | 0
LNL | CF Blank Flange, Rotatable CF100 | Stainless Steel 304 |  | 1 |  | 0
LNL | CF Blank Flange, Fixed CF100 | Stainless Steel 304 |  | 11 |  | 0
LNL | ISO-KF/CF Adapter KF25-CF16 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-KF/CF Adapter KF40-CF40 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-KF/CF Adapter KF40-CF63 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-KF/CF Adapter KF40-CF100 | Stainless Steel 304 |  | 3 |  | 0
LNL | CF Copper Gasket CF16 (x10 pcs) | OFHC copper |  | 14 |  | 0
LNL | CF Copper Gasket CF25 (x10 pcs) | OFHC copper |  | 3 |  | 0
LNL | CF Copper Gasket CF40 (x10 pcs) | OFHC copper |  | 6 |  | 0
LNL | CF Copper Gasket CF100 (x10 pcs) | OFHC copper |  | 3 |  | 0
LNL | CF Copper Gasket CF160 (x5 pcs) | OFHC copper |  | 1 |  | 0
LNL | CF Copper Gasket CF200 (x5 pcs) | OFHC copper |  | 1 |  | 0
LNL | CF Copper Gasket CF250 (x5 pcs) | OFHC copper |  | 1 |  | 0
LNL
maggio 2016 Lotto 2
| Descrizione prodotto | Materiale | Codice prodotto | N° pezzi | Prezzo/cad | Prezzo Totale
LNL | Angle valve with bellows, Manual KF40 | Aluminum/Viton |  | 2 |  | 0
LNL | Glass Viewports KF40 | Stainless Steel 304/Kodial |  | 1 |  | 0
LNL
LNL
TOT PARZ LNL MAGGIO 2016 LOTTI 1 E 2 |  |  |  |  | CIRCA 22 KEURO | 0
ottobre 2015 Lotto 1
| Descrizione prodotto | Materiale | Codice prodotto | N° pezzi | Prezzo/cad | Prezzo Totale
LNL | ISO KF CLAMP DN 16 for Elastomer Seal | alluminio |  | 20 | 0 | 0
LNL | ISO KF CLAMP DN 25 for Elastomer Seal | alluminio |  | 20 | 0 | 0
LNL | ISO KF CLAMP DN 40 for Elastomer Seal | alluminio |  | 10 | 0 | 0
LNL | ISO KF CLAMP DN 40 for Elastomer Seal | alluminio |  | 20 | 0 | 0
LNL | ISO-KF 4-Way Cross croce KF40 | alluminio |  | 1 | 0 | 0
LNL | ISO-KF Tee KF40 (con un braccio più corto dell'altro) | alluminio |  | 1 | 0 | 0
LNL | ISO-KF Aluminum Edged Seal DN 40 | alluminio |  | 6 | 0 | 0
LNL | ISO-KF Reducer Centering Ring DN 16/DN 10 | alluminio + FPM |  | 10 | 0 | 0
LNL | ISO KF Swagelok adapter DN 16/Tube OD 1/4" | SS 304 |  | 10 | 0 | 0
LNL | ISO KF Swagelok adapter DN 16/Tube OD 6 mm | SS 304 |  | 10 | 0 | 0
LNL | ISO KF Swagelok adapter DN 25/Tube OD 6 mm | SS 304 |  | 10 | 0 | 0
LNL | ISO-KF Clamp for metal Seals DN 10/16 | SS 304 |  | 6 | 0 | 0
LNL | ISO-KF Clamp for metal Seals DN 32/40 | SS 304 |  | 6 | 0 | 0
LNL | ISO-KF blank flange DN40 | SS 304 |  | 30 | 0 | 0
LNL | ISO-KF Halp nipple DN 40 (L 60 mm ± 5) | SS 304 |  | 1 | 0 | 0
LNL | ISO-KF Reducer Cross (2 DN25 + 2 DN16) | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF Reducer Cross DN40/16 (2 DN40 + 2 DN16) | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF Reducer Cross DN40/25 (2 DN25 + 2 DN25) | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF 4-Way Cross DN16 | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF 4-Way Cross DN25 | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF 4-Way Cross DN40 | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF Elbow 90° DN10 | SS 304 |  | 6 | 0 | 0
LNL | ISO-KF Elbow, Radius, 45° DN16 | SS 304 |  | 5 | 0 | 0
LNL | ISO-KF Elbow 90° DN16 | SS 304 |  | 10 | 0 | 0
LNL | ISO-KF Elbow, Radius, 45° DN25 | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF Elbow 90° DN25 | SS 304 |  | 11 | 0 | 0
LNL | ISO-KF Elbow, Radius, 45° DN40 | SS 304 |  | 5 | 0 | 0
LNL | ISO-KF Elbow 90° DN40 | SS 304 |  | 7 | 0 | 0
LNL | ISO-KF Straight Reducer DN25/16 | SS 304 |  | 12 | 0 | 0
LNL | ISO-KF Straight Reducer DN40/16 | SS 304 |  | 8 | 0 | 0
LNL | ISO-KF Straight Reducer DN40/25 | SS 304 |  | 14 | 0 | 0
LNL | ISO-KF Reducer Tee DN40/16 (2 DN40 + 1 DN16) | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF Reducer Tee DN40/25 (2 DN40 + 1 DN25) | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF Tee DN10 | SS 304 |  | 4 | 0 | 0
LNL | ISO KF TEE DN 16 | SS 304 |  | 8 | 0 | 0
LNL | ISO KF TEE DN 25 | SS 304 |  | 8 | 0 | 0
LNL | ISO-KF Tee DN40 | SS 304 |  | 9 | 0 | 0
LNL | ISO-KF Full Nipple DN25 | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF Full Nipple DN40 | SS 304 |  | 1 | 0 | 0
LNL | ISO KF CORRUGATED HIGH FLEXIB. HOSE DN 16 - L=1000 | SS 304 |  | 2 | 0 | 0
LNL | ISO KF CORRUGATED HIGH FLEXIB. HOSE DN 16 - L=250 | SS 304 |  | 2 | 0 | 0
LNL | ISO KF CORRUGATED HIGH FLEXIB. HOSE DN 16 - L=500 | SS 304 |  | 2 | 0 | 0
LNL | ISO KF CORRUGATED HIGH FLEXIB. HOSE DN 25 - L=1000 | SS 304 |  | 4 | 0 | 0
LNL | ISO KF CORRUGATED HIGH FLEXIB. HOSE DN 25 - L=500 | SS 304 |  | 2 | 0 | 0
LNL | ISO KF CORRUGATED HIGH FLEXIB. HOSE DN 40 - L=1000 | SS 304 |  | 2 | 0 | 0
LNL | ISO KF CENTERING RING without O-ring DN50 | SS 304 |  | 10 | 0 | 0
LNL | ISO-KF Outer centering ring DN16 | SS 304 + FPM |  | 10 | 0 | 0
LNL | ISO-KF Outer centering ring DN25 | SS 304 + FPM |  | 10 | 0 | 0
LNL | ISO-KF Outer centering ring DN40 | SS 304 + FPM |  | 10 | 0 | 0
LNL | ISO KF CENTERING RING DN 10 | SS 304 + FPM |  | 20 | 0 | 0
LNL | ISO KF CENTERING RING DN 16 | SS 304 + FPM |  | 20 | 0 | 0
LNL | ISO KF CENTERING RING DN 25 | SS 304 + FPM |  | 20 | 0 | 0
LNL | ISO KF CENTERING RING DN 40 | SS 304 + FPM |  | 20 | 0 | 0
LNL | ISO-KF Rubber Hose L = 10000 | Rubber |  | 10 | 0 | 0
LNL | ISO-K Double Claw Clamp for DN63-100 | alluminio-SS |  | 4 | 0 | 0
LNL | ISO-K Double Claw Clamp for DN160-250 | alluminio-SS |  | 4 | 0 | 0
LNL | CF Flat Elastomer Gasket DN16 | FPM |  | 22 | 0 | 0
LNL | CF Flat Elastomer Gasket DN40 | FPM |  | 22 | 0 | 0
LNL | CF Flat Elastomer Gasket DN100 | FPM |  | 8 | 0 | 0
LNL | CF FPM FLAT GASKET DN160 | FPM |  | 6 | 0 | 0
LNL | CF FPM FLAT GASKET DN200 | FPM |  | 2 | 0 | 0
LNL | CF Teflon Gasket DN40 | PTFE |  | 5 | 0 | 0
LNL | CF - Swagelok adapter DN 16/Tube OD 6 mm | SS 304 |  | 1 | 0 | 0
LNL | CF-VCR Adapter, male and female DN 16 / 1/4“ | SS 304 |  | 1 | 0 | 0
LNL | CF Hexagon Head Screw Set Screw with Horseshoe Nuts for DN16 | SS 304 |  | 1 | 0 | 0
LNL | CF Weld Flange, Rotatable DN40 | SS 304 |  | 1 | 0 | 0
LNL | CF Weld Flange, Rotatable DN63 | SS 304 |  | 1 | 0 | 0
LNL | CF Weld Flange, Rotatable DN100 | SS 304 |  | 1 | 0 | 0
LNL | CF Weld Flange, Fixed, DN40 | SS 304 |  | 2 | 0 | 0
LNL | CF Weld Flange, Fixed, DN63 | SS 304 |  | 1 | 0 | 0
LNL | CF Weld Flange, Fixed, DN100 | SS 304 |  | 1 | 0 | 0
LNL | CF Blank Flange, Rotatable, DN16 | SS 304 |  | 3 | 0 | 0
LNL | CF Blank Flange, Fixed, DN16 | SS 304 |  | 3 | 0 | 0
LNL | CF Blank Flange, Fixed, DN40 | SS 304 |  | 1 | 0 | 0
LNL | CF Blank Flange, Rotatable, DN40 | SS 304 |  | 1 | 0 | 0
LNL | CF Blank Flange, Fixed, DN63 | SS 304 |  | 1 | 0 | 0
LNL | CF Blank Flange, Fixed, DN100 | SS 304 |  | 1 | 0 | 0
LNL | CF Blank Flange, Rotatable, DN100 | SS 304 |  | 1 | 0 | 0
LNL | CF Spacer Flange with Bore Holes, DN16 L = 8 mm ± 2 | SS 304 |  | 1 | 0 | 0
LNL | CF Spacer Flange with Bore Holes, DN40 L = 13 mm ± 2 | SS 304 |  | 1 | 0 | 0
LNL | CF Spacer Flange with Bore Holes, DN63 L = 18 mm ± 3 | SS 304 |  | 1 | 0 | 0
LNL | CF Spacer Flange with Bore Holes, DN100 L = 20 mm ± 4 | SS 304 |  | 1 | 0 | 0
LNL | CF40 Spacer Flange with Bore and 3 Ports CF16 | SS 304 |  | 1 | 0 | 0
LNL | CF63 Spacer Flange with Bore and 2 Ports CF16 | SS 304 |  | 1 | 0 | 0
LNL | CF Reducer Flange DN40-DN16 | SS 304 |  | 1 | 0 | 0
LNL | CF Reducer Flange DN63-DN40 | SS 304 |  | 1 | 0 | 0
LNL | CF Reducer Flange DN100-DN63 | SS 304 |  | 1 | 0 | 0
LNL | CF Reducer Flange DN200-DN100 | SS 304 |  | 1 | 0 | 0
LNL | CF Halp nipple FIXED DN16 L = 38 mm ± 5 | SS 304 |  | 3 | 0 | 0
LNL | CF Reducer Tee CF40 and CF16 | SS 304 |  | 1 | 0 | 0
LNL | CF Tee DN40 | SS 304 |  | 4 | 0 | 0
LNL | ISO-KF/CF Adapter KF16/CF16 | SS 304 |  | 2 | 0 | 0
LNL | ISO-KF/CF Adapter KF25/CF16 | SS 304 |  | 1 | 0 | 0
LNL | ISO-KF/CF Adapter KF40/CF16 | SS 304 |  | 2 | 0 | 0
LNL | ISO-KF/CF Adapter KF16/CF40 | SS 304 |  | 2 | 0 | 0
LNL | ISO-KF/CF Adapter KF25/CF40 | SS 304 |  | 1 | 0 | 0
LNL | ISO-KF/CF Adapter KF40/CF40 | SS 304 |  | 2 | 0 | 0
LNL | ISO-KF/CF Adapter KF40/CF63 | SS 304 |  | 1 | 0 | 0
LNL | CF Copper Gasket DN10 | OFHC COPPER |  | 20 | 0 | 0
LNL | CF Copper Gasket DN40 | OFHC COPPER |  | 40 | 0 | 0
LNL | CF Copper Gasket DN63 | OFHC COPPER |  | 10 | 0 | 0
LNL | CF Copper Gasket DN100 | OFHC COPPER |  | 20 | 0 | 0
LNL | CF Copper Gasket DN160 | OFHC COPPER |  | 15 | 0 | 0
LNL | CF Copper Gasket DN200 | OFHC COPPER |  | 5 | 0 | 0
LNL | CF Copper Gasket DN250 | OFHC COPPER |  | 5 | 0 | 0
LNL | Thread Lubricant, MOLYKOTE® 1000, 100g |  |  | 1 | 0 | 0
LNL | VACUUM GREASE - APIEZON L 100 g |  |  | 2 | 0 | 0
LNL
LNL
ottobre 2015 Lotto 2
| Descrizione prodotto | Materiale | Codice prodotto | N° pezzi | Prezzo/cad | Prezzo Totale
1 | ISO-KF Flange with Pipe Thread, without Seal, Male DN16 / G1/4" | SS 304 |  | 20 | 0 | 0
2 | ISO-KF Hose Connector DN16 - 8 mm | SS 304 |  | 20 | 0 | 0
3 | ISO-KF Hose Connector DN16 - 12 mm | SS 304 |  | 20 | 0 | 0
4 | CF Plate Nut Sets for DN40 | SS 304 |  | 6 | 0 | 0
5 | CF Plate Nut Sets for DN100 | SS 304 |  | 6 | 0 | 0
6 | CF Plate Nut Sets for DN160 | SS 304 |  | 6 | 0 | 0
7 | CF Hexagon Head Screw Set with Horseshoe Nuts for DN40 | SS 304 |  | 3 | 0 | 0
8 | CF Hexagon Head Screw Set with Horseshoe Nuts for DN100 | SS 304 |  | 3 | 0 | 0
9 | CF Hexagon Head Screw Set with Horseshoe Nuts for DN160 | SS 304 |  | 3 | 0 | 0
10 | CF Spacer Flange with Bore Holes DN40 L = 13 mm ± 2 | SS 304 |  | 3 | 0 | 0
11 | CF Spacer Flange with Bore Holes DN100 L = 20 mm ± 4 | SS 304 |  | 3 | 0 | 0
12 | CF Spacer Flange with Bore Holes DN160 L = 22 mm ± 4 | SS 304 |  | 3 | 0 | 0
13 | ISO-KF/CF Adapter KF40/CF63 | SS 304 |  | 3 | 0 | 0
14 | ISO-KF/CF Adapter KF40/CF100 | SS 304 |  | 3 | 0 | 0
15 | CF Reducer Nipple, Straight DN63/40 | SS 304 |  | 3 | 0 | 0
16 | CF Reducer Nipple, Straight DN100/63 | SS 304 |  | 3 | 0 | 0
17 | ISO-K Double Claw Clamps DN63-250 | SS 304 |  | 20 | 0 | 0
18 | ISO-K Claw Clamps DN63-100 | SS 304 |  | 20 | 0 | 0
19 | ISO-K Claw Clamps DN160-250 | SS 304 |  | 20 | 0 | 0
TOT PARZ LNL OTT. 2015 LOTTI 1 E 2 |  |  |  |  | CIRCA 18KEURO | 0
ottobre 2016 Lotto 1
| Descrizione prodotto | Materiale | Codice prodotto | N° pezzi | Prezzo/cad | Prezzo Totale
LNL | ISO-KF Bolt Clamp (3-Part) for Metal Seals DN10/16 | Aluminum |  | 10 |  | 0
LNL | ISO-KF Bolt Clamp (3-Part) for Metal Seals DN32/40 | Aluminum |  | 10 |  | 0
LNL | ISO-KF Clamp for Elastomer Seal DN16 | Aluminum |  | 15 |  | 0
LNL | ISO-KF Clamp for Elastomer Seal DN20/25 | Aluminum |  | 25 |  | 0
LNL | ISO-KF Clamp for Elastomer Seal DN32/40 | Aluminum |  | 10 |  | 0
LNL | ISO-KF Clamp for Elastomer Seal DN50 | Aluminum |  | 1 |  | 0
LNL | ISO-KF reducing straight DN 25/16 | Aluminum |  | 6 |  | 0
LNL | ISO-KF reducing straight DN 40/16 | Aluminum |  | 1 |  | 0
LNL | ISO-KF reducing straight DN 40/25 | Aluminum |  | 2 |  | 0
LNL | ISO-KF tee DN 16 | Aluminum |  | 1 |  | 0
LNL | ISO-KF tee DN 25 | Aluminum |  | 1 |  | 0
LNL | ISO-KF tee DN 40 | Aluminum |  | 1 |  | 0
LNL | ISO-KF Aluminum Edged Seal DN16 | Aluminum EN AW-6082 |  | 10 |  | 0
LNL | ISO-KF Centering Ring DN16 | Aluminum/FPM |  | 10 |  | 0
LNL | ISO-KF Centering Ring DN25 | Aluminum/FPM |  | 15 |  | 0
LNL | ISO-KF Reducer Centering Ring DN10/16 | Aluminum/FPM |  | 5 |  | 0
LNL | ISO-KF Centering Ring DN 10 | Aluminum/EDPM |  | 5 |  | 0
LNL | ISO-KF Centering Ring DN 16 | Aluminum/EDPM |  | 5 |  | 0
LNL | ISO-KF Centering Ring DN 25 | Aluminum/EDPM |  | 5 |  | 0
LNL | ISO-KF Centering Ring DN 32 | Aluminum/EDPM |  | 1 |  | 0
LNL | ISO-KF Centering Ring DN 40 | Aluminum/EDPM |  | 5 |  | 0
LNL | ISO-KF Centering Ring DN 50 | Aluminum/EDPM |  | 1 |  | 0
LNL | ISO-KF Flange with Pipe Thread, without Seal, Male DN16-G1/4" | Stainless Steel 304L |  | 25 |  | 0
LNL | ISO-KF Flange with Pipe Thread, without Seal, Male DN40-G1/4" | Stainless Steel 304L |  | 10 |  | 0
LNL | ISO-KF VCR Adapter, Female DN16-1/4" | Stainless Steel 304 |  | 3 |  | 0
LNL | ISO-KF VCR Adapter, Male DN16-1/4" | Stainless Steel 304 |  | 3 |  | 0
LNL | ISO-KF Clamp for elastomer seal DN 10/16 | Stainless Steel 304 |  | 40 |  | 0
LNL | ISO-KF Blank Flange DN 10 | Stainless Steel 304 |  | 2 |  | 0
LNL | ISO-KF Blank Flange DN 16 | Stainless Steel 304 |  | 13 |  | 0
LNL | ISO-KF Blank Flange DN 25 | Stainless Steel 304 |  | 4 |  | 0
LNL | ISO-KF Blank Flange DN 40 | Stainless Steel 304 |  | 4 |  | 0
LNL | ISO-KF Half Nipple DN 16 KF L=30 mm | Stainless Steel 304 |  | 30 |  | 0
LNL | ISO-KF Half Nipple DN 16 KF L=70 mm | Stainless Steel 304 |  | 10 |  | 0
LNL | ISO-KF Half Nipple DN 25 KF L=30 mm | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF 4-Way Cross DN 25 | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF 4-Way Cross DN 40 | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF reducer conical DN 40/25 | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF reducing tee DN 25/16 | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF reducing tee DN 40/25 | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF full nipple DN 16 | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF full nipple DN 25 | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF full nipple DN 40 | Stainless Steel 304 |  | 1 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible DN10, L=1500 | Flange SS304; Bellow SS316L |  | 2 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible DN10 L=2000 | Flange SS304; Bellow SS316L |  | 2 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible DN16 L=500 mm | Flange SS304; Bellow SS316L |  | 1 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible DN16 L=2000 mm | Flange SS304; Bellow SS316L |  | 3 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible DN25 500mm | Flange SS304; Bellow SS316L |  | 1 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible DN25 1500mm | Flange SS304; Bellow SS316L |  | 3 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible DN40, L=1000 | Flange SS304; Bellow SS316L |  | 3 |  | 0
LNL | ISO-KF Corrugated Hose, Flexible DN40 L=2000 mm | Flange SS304; Bellow SS316L |  | 1 |  | 0
LNL | ISO-KF Flange with Pipe Thread and FPM Seal, Male DN25-3/4" | Stainless Steel 304L |  | 15 |  | 0
LNL | ISO-KF Centering Ring with Screen DN16 - wire diameter 0,3 mm | Stainless Steel 304/FPM |  | 3 |  | 0
LNL | ISO-KF Centering Ring DN 10 | Stainless Steel 304/FPM |  | 5 |  | 0
LNL | ISO-KF Centering Ring DN 16 | Stainless Steel 304/FPM |  | 45 |  | 0
LNL | ISO-KF Centering Ring DN 25 | Stainless Steel 304/FPM |  | 5 |  | 0
LNL | ISO-KF Centering Ring DN 32 | Stainless Steel 304/FPM |  | 2 |  | 0
LNL | ISO-KF Centering Ring DN 40 | Stainless Steel 304/FPM |  | 5 |  | 0
LNL | ISO-KF Centering Ring DN 50 | Stainless Steel 304/FPM |  | 2 |  | 0
LNL | ISO-KF Reducing Ring DN 16/10 | Stainless Steel 304/FPM |  | 6 |  | 0
LNL | ISO-KF Reducing Ring DN 25/20 | Stainless Steel 304/FPM |  | 3 |  | 0
LNL | ISO-KF Reducing Ring DN 40/32 | Stainless Steel 304/FPM |  | 4 |  | 0
LNL | ISO-KF Clamp for Elastomer Seal DN 20/25 | Plastic |  | 1 |  | 0
LNL | ISO-KF Clamp for Elastomer Seal DN 32/40 | Plastic |  | 1 |  | 0
LNL | ISO-KF Blank Flange KF25 | Plastic (POM) |  | 4 |  | 0
LNL | ISO-KF Blank Flange KF40 | Plastic (POM) |  | 4 |  | 0
LNL | ISO-KF reducing straight DN 40/25 | Plastic (POM) |  | 1 |  | 0
LNL | ISO-KF Centering Ring DN 10 | PTFE/FPM |  | 1 |  | 0
LNL | ISO-KF Centering Ring DN 16 | PTFE/FPM |  | 1 |  | 0
LNL | ISO-KF Centering Ring DN 25 | PTFE/FPM |  | 1 |  | 0
LNL | ISO-KF Centering Ring DN 40 | PTFE/FPM |  | 1 |  | 0
LNL | ISO-KF Centering Ring DN 50 | PTFE/FPM |  | 1 |  | 0
LNL | ISO-K Centering Ring without Outer Ring DN100 | Aluminum/FPM |  | 6 |  | 0
LNL | ISO-K Centering Ring without Outer Ring DN160 | Aluminum/FPM |  | 6 |  | 0
LNL | CF Flat elastomer gasket DN100 | FPM |  | 4 |  | 0
LNL | CF Flat elastomer gasket DN100 with centering lip | FPM |  | 4 |  | 0
LNL | CF Flat elastomer gasket DN160 | FPM |  | 4 |  | 0
LNL | CF Flat elastomer gasket DN160 with centering lip | FPM |  | 4 |  | 0
LNL | CF Flat elastomer gasket DN63 | FPM |  | 10 |  | 0
LNL | CF-VCR Adapter, Male DN40 - 1/4" | CF flange: 304L SS; VCR connector: 316L |  | 2 |  | 0
LNL | CF Blank Flange, Fixed DN16 | Stainless Steel 304 |  | 4 |  | 0
LNL | CF Blank Flange, Fixed DN25 | Stainless Steel 304 |  | 2 |  | 0
LNL | CF Blank Flange, Fixed DN40 | Stainless Steel 304 |  | 29 |  | 0
LNL | CF Blank Flange, Fixed DN63 | Stainless Steel 304 |  | 2 |  | 0
LNL | CF Blank Flange, Fixed DN100 | Stainless Steel 304 |  | 1 |  | 0
LNL | CF100 Blank Flange, Fixed with Metric Thread DN100 - M8 | Stainless Steel 304 |  | 4 |  | 0
LNL | CF100 Blank Flange, Fixed with Metric Thread DN160 - M8 | Stainless Steel 304 |  | 7 |  | 0
LNL | CF Blank Flange, Fixed DN200 | Stainless Steel 304 |  | 2 |  | 0
LNL | CF Spacer Flange with Bore Holes and 2 Port DN100 - 2 DN16 | Stainless Steel 304L |  | 1 |  | 0
LNL | CF Spacer Flange with Bore Holes and 2 Port DN160 - 2 DN16 | Stainless Steel 304L |  | 1 |  | 0
LNL | CF Reducer Flange DN40/16 | Stainless Steel 304L |  | 2 |  | 0
LNL | CF Reducer Flange DN63/40 | Stainless Steel 304L |  | 1 |  | 0
LNL | CF Reducer Flange DN100/40 | Stainless Steel 304L |  | 4 |  | 0
LNL | CF Reducer Flange DN160/100 | Stainless Steel 304L |  | 2 |  | 0
LNL | CF Reducer Flange DN200/100 | Stainless Steel 304L |  | 3 |  | 0
LNL | CF 4-Way Reducer Cross DN100/40 | Stainless Steel 304L |  | 1 |  | 0
LNL | CF160 4-Way Cross, with one rotatable flange per axis DN40 | Stainless Steel 304L |  | 1 |  | 0
LNL | CF160 4-Way Cross, with one rotatable flange per axis DN160 | Stainless Steel 304L |  | 1 |  | 0
LNL | CF Reducer Nipple, Straight, with reduce flange rotatable DN100/40 | Stainless Steel 304L |  | 1 |  | 0
LNL | CF Reducer Nipple, Straight, with reduce flange rotatable DN160/100 | Stainless Steel 304L |  | 4 |  | 0
LNL | CF Reducer Nipple, Straight, with reduce flange rotatable DN200/100 | Stainless Steel 304L |  | 1 |  | 0
LNL | CF Reducer Tee one rotatable flange per axis DN100/40 | Stainless Steel 304L |  | 1 |  | 0
LNL | CF Tee one rotatable flange per axis DN100 | Stainless Steel 304L |  | 2 |  | 0
LNL | ISO-KF/CF Adapter DN16CF/16KF | Stainless Steel 304L |  | 4 |  | 0
LNL | ISO-KF/CF Adapter DN40CF/16KF | Stainless Steel 304L |  | 2 |  | 0
LNL | ISO-KF/CF Adapter DN40CF/25KF | Stainless Steel 304L |  | 2 |  | 0
LNL | ISO-KF/CF Adapter DN40 | Stainless Steel 304L |  | 12 |  | 0
LNL | ISO-KF/CF Adapter DN100CF/40KF | Stainless Steel 304L |  | 4 |  | 0
LNL | ISO-K/CF Adapter DN250ISO-K/CF100 | Stainless Steel 304L |  | 1 |  | 0
LNL | CF Copper Gasket DN16 | OFHC Copper |  | 70 |  | 0
LNL | CF Copper Gasket DN40 | OFHC Copper |  | 50 |  | 0
LNL | CF Copper Gasket DN63 | OFHC Copper |  | 20 |  | 0
LNL | CF Copper Gasket DN63 | OFHC Copper, Silver-plated |  | 10 |  | 0
LNL | CF Copper Gasket DN100 | OFHC Copper |  | 100 |  | 0
LNL | CF Copper Gasket DN160 | OFHC Copper |  | 40 |  | 0
LNL | CF Copper Gasket DN200 | OFHC Copper |  | 15 |  | 0
LNL | CF Copper Gasket DN250 | OFHC Copper |  | 5 |  | 0
LNL
LNL | [5 empty] | 0
LNL
LNL
ottobre 2016 Lotto 2
| Descrizione prodotto | Materiale | Codice prodotto | N° pezzi | Prezzo/cad | Prezzo Totale
LNL | CF 160 Door with Viewport DN 200 | Stainless Steel 304L, FPM, borosilicate |  | 1 |  | 0
TOT PARZ LNL OTTOBRE 2016 LOTTI 1 E 2 |  |  |  |  | CIRCA 33KEURO | € -
TOT LNL |  |  |  |  | 73000 | € -
MATTEO DE GERONE - SEZIONE DI GENOVA
SEZ GENOVA
SEZ GENOVA | Descrizione articolo | Descrizione ordine |  | Importo (IVA esclusa) | Importo (IVA esclusa)
SEZ GENOVA
SEZ GENOVA | Resina elettrica bicomponente EPT-H20E_B2_AON | Pasta d'argento bicomponente |  | 275.08 | 275.08
SEZ GENOVA | 2 X Pacco 1500 Guanti Kimtech Pure G3 Sterling Nitr. L | Guanti monouso in nitrile |  | 372.74 | 372.74 | MEPA
SEZ GENOVA | Pacco 1500 Guanti Kimtech Pure G3 Sterling Nitr. XL | Guanti monouso in nitrile |  | 186.37 | 186.37 | MEPA
SEZ GENOVA | Siringhe grasso per APT400 | Siringhe grasso per APT400 |  | 147 | 147
SEZ GENOVA | 4 X Fusto da 5Kg fomblin Y VAC 25/6 | Fomblin |  | 2800 | 2800 | MEPA
SEZ GENOVA | 5 X T5R-010-12 TNGSTEN-RHENIUM THERMOCOUPLE | Termocoppie |  | 280 | 280
SEZ GENOVA | 6 X 20880.320 Alcol isoproilico HiPerSolv CHROMANORM per HPCL | diluenti hpcl |  | 57.9 | 57.9 | MEPA
SEZ GENOVA | 6 X 20067.320 Acetone HiPerSolv CHROMANORM per HPCL | diluenti hpcl |  | 45.12 | 45.12 | MEPA
SEZ GENOVA | 6 X 153386F Alcol etilico 99,7 - 100% v/v HiPerSolv CHROMANORM per HPCL | diluenti hpcl |  | 214.14 | 214.14 | MEPA
SEZ GENOVA | 17000 X pipette pasteur non sterili in polietilene 3ml | pipette monouso |  | 194 | 194 | MEPA
SEZ GENOVA | 10 X tampone con testa in poliestere tessuto decontaminato che garantisce un bassissimo rilascio di particelle | tampone con testa in poliestere tessuto decontaminato |  | 389 | 389 | MEPA
SEZ GENOVA | panni per camera bianca BO SAP224 | panni per camera bianca |  | 406.44 | 406.44 | MEPA
SEZ GENOVA | CVP-40 1210001 DN40CF Kodial Zero Length Viewport 38mm Clear View Diameter | viewport e flange uhv |  | 378 | 378
SEZ GENOVA | CFZ160-63 150085 DN 160CF-DN63CF Zero Length Adaptor Flange | viewport e flange uhv |  | 183 | 183
SEZ GENOVA | CFB34 110000 DN16CF Flange 34mm OD Blank 304 | viewport e flange uhv |  | 44 | 44
SEZ GENOVA | CFB70 110008 DN40CF Flange 70mm OD Blank 304 | viewport e flange uhv |  | 52 | 52
SEZ GENOVA | CB114 110018 DN63CF Flange 114mm OD Blank 304 | viewport e flange uhv |  | 51 | 51
SEZ GENOVA | CCG16 1113240 DN16CF OFHC Copper Gaskets PK10 | viewport e flange uhv |  | 55 | 55
SEZ GENOVA | CCG140 1113241 DN40CF OFHC Copper Gaskets PK10 | viewport e flange uhv |  | 150 | 150
SEZ GENOVA | CCG100 1113243 DN100CF OFHC Copper Gaskets PK10 | viewport e flange uhv |  | 64 | 64
SEZ GENOVA | CCG160 1113244 DN160CF OFHC Copper Gaskets PK10 | viewport e flange uhv |  | 51 | 51
SEZ GENOVA | K25-B 712001 KF25 Blank Flange SS | viewport e flange uhv |  | 50 | 50
SEZ GENOVA | BVPZ64BaF2 Viewpoer DN63 BaF2 (Barium Fluoride) zero Length | viewport e flange uhv |  | 2111 | 2111
SEZ GENOVA | cod 0313 Raccodo Tee DN25KF - AISI 304 | componenti basso vuoto |  | 147 | 147 | MEPA
SEZ GENOVA | 0002 collare serraggio DN20 / 25KF - alluminio | componenti basso vuoto |  | 55 | 55 | MEPA
SEZ GENOVA | CF160 Fox Blanl Flange clear holes 2-CF-0148 | flange uhv |  | 520 | 520 | MEPA
SEZ GENOVA | Viewpoer standard 7056 kodial glass CF160 3-ST-0054 | flange uhv |  | 1143 | 1143 | MEPA
SEZ GENOVA | CF40 Fix blank flange clear holes 2-CF-0056 | flange uhv |  | 42 | 42 | MEPA
SEZ GENOVA | AISI 304L CF63 Blank Flange Clear Holes 2-CF-0100 | flange uhv |  | 114 | 114 | MEPA
SEZ GENOVA | CF16 Fix Blank Flange clear holes 2-CF-001 | flange uhv |  | 28.5 | 28.5 | MEPA
SEZ GENOVA | Viewport standard 7056 Kodial glass CF40 3-ST-0051 | flange uhv |  |  |  | MEPA
SEZ GENOVA | siringa grasso per TMP 5150 | siringa grasso per TMP5150 |  | 256 | 256
SEZ GENOVA | 10 finestre quarzo lucide 100mm X 100mm X 2.2mm | finestre quarzo |  | 1155 | 1155
SEZ GENOVA | 1 X tubo flessibile con De=9,82 mm, L = 300, intestato ad una estremita' con VCR 1/4" F, dall'altra con tubo rigido De=1/4" o maggiore L = 200mm; | materiale basso vuoto |  | 1268 | 1268 | acquistato come kit componentistica da vuoto
SEZ GENOVA | 1 X tubo flessibile con De=9,82 mm, L = 300, intestato ad una estremita' con VCR 1/4" M, dall'altra con tubo rigido De=1/4" o maggiore L = 200mm; | materiale basso vuoto |  | incluso sopra |  | acquistato come kit componentistica da vuoto
SEZ GENOVA | 5 X connettore VCR 1/4" F su tubo a saldare De=1/4"o maggiore L = 25mm | materiale basso vuoto |  | incluso sopra |  | acquistato come kit componentistica da vuoto
SEZ GENOVA | 5 X connettore VCR 1/4" M su tubo a saldare De=1/4"o maggiore L = 25mm | materiale basso vuoto |  | incluso sopra |  | acquistato come kit componentistica da vuoto
SEZ GENOVA | 100 X gasket inox per VCR1/4" con molla di rit fossaggio (cod SS-4-VCR-2-GR) | materiale basso vuoto |  | incluso sopra |  | acquistato come kit componentistica da vuoto
SEZ GENOVA | 4 X tubi alto vuoto flessibile in acciaio inox flangiato alle estremita' con DN16KF | componentistica alto vuoto |  | 897 | 897 | MEPA
SEZ GENOVA | 10 X anelli di centraggio in PVC DN10KF | componentistica alto vuoto |  | incluso sopra |  | MEPA
SEZ GENOVA | 10 X anelli di centraggio in PVC DN16KF | componentistica alto vuoto |  | incluso sopra |  | MEPA
SEZ GENOVA | 10 X anelli di centraggio in PVC DN25KF | componentistica alto vuoto |  | incluso sopra |  | MEPA
SEZ GENOVA | 10 X anelli di centraggio in PVC DN40KF | componentistica alto vuoto |  | incluso sopra |  | MEPA
SEZ GENOVA | 10 collari di serraggio in nylon DN10/16KF | componentistica alto vuoto |  | incluso sopra |  | MEPA
SEZ GENOVA | 10 collari di serraggio in nylon DN20/25KF | componentistica alto vuoto |  | incluso sopra |  | MEPA
SEZ GENOVA | 10 collari di serraggio in nylon DN32/40KF | componentistica alto vuoto |  | incluso sopra |  | MEPA
SEZ GENOVA | DN100-ISO-F GATE VALVE PNEUMATIC, Viton gate and bonnet seal, 24V DC, reeed switch position indicator | gate valve e flange uhv |  | 1975.05 | 1975.05
SEZ GENOVA | DN200CF - DN160 ISO-K straight adaptor, STN STL, overall length 100mm | gate valve e flange uhv |  | 330 | 330
SEZ GENOVA | DN160CF - ISO -K 160 adaptor, length 90mm | gate valve e flange uhv |  | 280 | 280
SEZ GENOVA | DN200CF200 - DN200 ISO-K straight adaptor, STN STL, overall length 100mm | gate valve e flange uhv |  | 380 | 380
SEZ GENOVA | DN160ISO-K STN STL centering ringwith viton O-ring | gate valve e flange uhv |  | 90 | 90
SEZ GENOVA | DN200ISO-K STN STL centering ring with viton O-ring | gate valve e flange uhv |  | 36 | 36
SEZ GENOVA | Set of 25 nuts, bolts and washers, hex head (M8X35) | gate valve e flange uhv |  | 15 | 15
SEZ GENOVA | Set of 25 nuts, bolts and washers, hex head (M8X50) | gate valve e flange uhv |  | 44 | 44
SEZ GENOVA | 5 X DN160CF standard ofe copper gaskets | gate valve e flange uhv |  | 35 | 35
SEZ GENOVA | 5 X DN200CF standard ofe copper gaskets | gate valve e flange uhv |  | 50 | 50
TOT SEZ GENOVA |  |  |  |  | 17417.34
totale complessivo strutture ultimi 3 anni |  |  |  |  | 357431.44